## Summary
Summary for Tavakubu Balance Additional Works
Item No. | Description | Contract Sum
1 | Preliminaries and General | 0
2 | Roadworks | 0
3 | Concrete | 0
4 | Sewer Reticulation | 0
5 | Stormwater | 0
6 | Overslip | 0
7 | Electrical | 0
| Sub Total | 0

## P&G
Housing Authority
Tavakubu Residential Subdivision - Lautoka
Design & Build Contract - Contract No. E/352
Schedule of Prices
1.0 Preliminaries & General |  | Contractual
Item | Description | Unit | Qty | Rate | Amount
1 | Preliminary & General
1.01 | Mobilisation | LS | 1 | 0 | 0
1.02 | Make good existing site office and connect temporary utilities - Water, Electricity. | LS | 1
1.03 | Allow for provision of Security. | Months | 6
1.04 | Allow for Provisions for Engineers Rep - Tables, chairs, PPE, WIFI | LS | 1
1.05 | Allow for liaison with all authorities for services connections and permits. | LS | 1 | 0 | 0
1.06 | Compaction Tests using a Nuclear Densometer and in-situ CBR determination using Clegg Hammer by the Contractor / Approved Laboratory. | LS | 1 | 0 | 0
1.07 | Demobilisation | LS | 1 | 0 | 0
Total Cost - P & G |  |  |  |  | 0

## Roadworks
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
2.0 Roadworks |  | Contractual
Item | Description | Unit | Qty | Rate | Amount
2 | Roadworks
2.01 | Allow for 2 coat chipseal on the 11th month after previous coat application. (Provisional Quantity)
2.01.01 | Access Road 1 | m2 | 858.76 | 0 | 0
2.01.02 | Access Road 4 | m2 | 3630.22 | 0 | 0
2.01.03 | Access Road 5 | m2 | 4686.21 | 0 | 0
2.01.04 | Access Road 7 | m2 | 1193.98 | 0 | 0
2.01.05 | Access Road 9 | m2 | 1555.35 | 0 | 0
2.01.06 | Access Road 10 | m2 | 570.32 | 0 | 0
2.02 | Line Marking Lane Separation, Intersection stop, Hydrant Locations
2.02.01 | Phase 1 | LS | 1 | 0 | 0
2.02.02 | Phase 2 | LS | 1 | 0 | 0
2.02.03 | Phase 3 | LS | 1 | 0 | 0
2.03 | Road Signage Include Naming signs, regulatory stop signs all Aluminium fluted posts in sockets
2.03.01 | Phase 1 | LS | 1 | 0 | 0
2.03.02 | Phase 2 | LS | 1 | 0 | 0
2.03.03 | Phase 3 | LS | 1 | 0 | 0
Total Cost - Roadworks |  |  |  |  | 0

## Concrete
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
3.0 Concrete |  | Contractual
Item | Description | Unit | Qty | Rate | Amount
3 | Footpath
3.01 | Repair damaged 25MPA reinforced concrete 100thk (Provisional Quantity) | m2 | 50 | 0 | 0
3.02 | Repair damaged 25MPA reinforced concrete 150thk (Provisional Quantity) | m2 | 50 | 0 | 0
Total Cost - Concrete Works |  |  |  |  | 0

## Sewer
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
Item | Description | Unit | Qty | Rate | Amount
4 | Sewer Reticulation
4.01 | Flush Gravity Lines and check for blockages or breaks in the lines. Clear blockages and repair breaks.
4.01.01 | Phase 1 | LS | 1 |  | 0
4.01.02 | Phase 2 | LS | 1 |  | 0
4.01.03 | Phase 3 | LS | 1 |  | 0
4.02 | Repair burnt or broken sewer connections. Cap 300mm below ground level and record survey coordinates and level.
4.02.01 | Phase 1 | No | 189 |  | 0
4.02.02 | Phase 2 | No | 130 |  | 0
4.02.03 | Phase 3 | No | 210 |  | 0
4.03 | Replace missing manhole lids
4.03.01 | Phase 1 | No | 15 |  | 0
4.03.02 | Phase 2 | No | 15 |  | 0
4.03.03 | Phase 3 | No | 25 |  | 0
| Pumpstation |  |  |  | 0
4.04 | Bail pump well. Service and test existing pumps and float switches. Allow for replacement corroded steel components.
4.04.01 | Phase 1 Pump station | No | 2 |  | 0
4.04.02 | Phase 2 Pump station | No | 2 |  | 0
4.05 | Repair weatherproof cabinet. Reinstall pump control panel, meter, switches, breakers. Ensure WAF compliance.
4.05.01 | Phase 1 Pump station | No | 1 |  | 0
4.05.02 | Phase 2 Pump station | No | 0 |  | 0
4.06 | Install HA Approved Heavy Duty IP65 80W Solar Light mounted on 150dia Galv CHS 4.5m High. | No | 2 |  | 0
4.06.01 | Phase 1 Pump station | No | 1 |  | 0
4.06.02 | Phase 2 Pump station | No | 1 |  | 0
4.07 | Repair fencing and corrooded steel sections and apply additional protective coating.
4.07.01 | Phase 1 Pump station | No | 1 |  | 0
4.07.02 | Phase 2 Pump station | No | 1 |  | 0
4.08 | Jointly Test Pumps with WAF and Recommission. Acquire WAF Compliance Report.
4.08.01 | Phase 1 | No | 1 |  | 0
4.08.02 | Phase 2 | No | 1 |  | 0
Total Cost - Sewer |  |  |  |  | 0

## Storm water
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
Item | Description | Unit | Qty | Rate | Amount
5 | Stormwater Repair
5.01 | Supply and replace damaged 280invert V-Drains
5.01.01 | Phase 1 | m | 50 |  | 0
5.01.02 | Phase 2 | m | 60 |  | 0
5.01.03 | Phase 3 | m | 80 |  | 0
5.02 | Repair damaged 150thk stone ptching.
5.02.01 | Phase 1 | sqm | 60 |  | 0
5.02.02 | Phase 2 | sqm | 60 |  | 0
5.02.03 | Phase 3 | sqm | 130 |  | 0
5.03 | Repair damage concrete capping
5.03.01 | Phase 1 | m | 25 |  | 0
5.03.02 | Phase 2 | m | 25 |  | 0
5.03.03 | Phase 3 | m | 25 |  | 0
5.03 | Clean blocked sump pits and discharge pipes
5.03.01 | Phase 1 | m | 25 |  | 0
5.03.02 | Phase 2 | m | 25 |  | 0
5.03.03 | Phase 3 | m | 25 |  | 0
Total Cost - Stormwater Repair |  |  |  |  | 0
|  |  |  | Total Phase 1 | 0
|  |  |  | Total Phase 2 | 0
|  |  |  | Total Phase 3 | 0

## Overslip
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
6.0 Overslip Teporary Restoration |  | Contractual
Item | Description | Unit | Qty | Rate | Amount
6 | Overslip Temporary Restoration
6.01 | Remove loose material along affected area. Excavate a suitable bench. Place A24 BIDIM Geofab and stack 40cum riprap D50>500 to Berm height. Build to slope of 2in1. | Item | 1 | 0 | 0
| Total Cost - Overslip |  |  |  | 0

## Electrical
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
7.0 Electrical |  | CONTRACTUAL
Item | Description | Unit | Qty | Rate | Amount
7 | Electrical
7.01 | Supply and Replace damaged street lights lamps with new the 150W LED lamp on streetlight poles. (Provisional Quantity) | No. | 122 | 0 | 0
7.02 | Supply and relay streetlight cabling through ducts to ensure connection from meter boxes to lamps. Test connectivity. | LS | 1 | 0 | 0
7.03 | Repair damaged streetlight meterboxes, ensure loackability. Replace missing components - meter, switches and breakers. Ensure EFL FRA compliance. | No. | 5 |  | 0
Total Cost -Electrical |  |  |  |  | 0

## Water Supply
Housing Authority
Tavakubu Balance Additional Works
Schedule of Prices
Item | Description | Unit | Qty | Rate | Amount
8 | Water Supply
8.01 | Supply and install waf approved air valves. Allow for construction of concrete housing chamber and markers. Allow for drainage realignment and reinstatement works as required.
8.01.01 | Phase 3 - At Crest | No | 1 |  | 0
8.01.02 | Phase 3 -Downstream end of PRV | No | 1 |  | 0
8.02 | Supply and install WAF approved Pressure Reducing Valve. Allow for construction of housing chamber and and marker installation. Allow for drainage realignment and reinstatment of surround.
8.03.01 | Phase 3 - 15m downstream of crest. | No | 1
8.03 | Excavate, Supply and Install DN60 SLUICE VALVES and associated fittings for SCOUR OUTLETS. Allow for DN150 shroud, extension spindles, cover slab and markers. Allow for extension of DN60 pvc pipes with bends from valve to discharge point.(Note - Use flange tee to reduce to DN60)
8.04.01 | Phase 1 | m | 1 |  | 0
8.04.02 | Phase 2 | m | 1 |  | 0
8.04.03 | Phase 3 | No | 2 |  | 0
8.04.04 | Install 200thk grouted spalls for scour protection of 7sqm area at discharge points | No | 4 |  | 0
8.05 | Marker Posts Allow for Precast Markers Painted White for Valves and Yellow for Hydrants with Markings painted black.
8.05.01 | Sluice Valve Markers | No | 118
8.05.02 | Hydrant Markers | No | 50
8.05.03 | Air Valve Markers | No | 1
8.05.04 | PRV Marker | No | 1
8.05.05 | Scour Outlet Marker | No | 4
8.06 | Booster Pump
8.06.01 | Trench supply and install DN100MPVC pipe from reservoir through pumps and to intersect existing DN100 main. Allow for PN16 bends/fittimngs, 20MPa thrustblocks, backfill and reinstatement. | m | 424 |  | 0
8.06.02 | Allow excavation and connection of DN100 main to existing Main at Saru Rd Junction with one additional DN100 sluice valve and associated fittings. | No | 1 |  | 0
8.06.03 | Allow for connection of DN100 main to existing trunk main with 2xDN100 isolating sluice valves per. Allow for 20MPa thrustblocks and reinstatement DETAIL D | No | 1 |  | 0
8.06.04 | Allow for construction of pump house to have a 200thk RC slab to Suit. 40mm SHS framing with colorbond trimdek wall and roof and door cladding screwed in place. Allow for ventilation thrust blocks and deflection of main to and from the surface. Alternatively - Use a modified shipping container achored to the reinforced concrete slab. | No | 1 |  | 0
8.06.05 | Supply and install CRE 15 grundfos booster pumps with non return valve or similar WAF Approved complete with control panels lighting and and provision for future 4th pump installment. | No | 3 |  | 0
8.06.06 | Allow for connection of EFL to main and installation of EFL meter on 100dia galv pole, switches, fuses breakers and sunset switch. Allow for supply to pump control panel. Allow for one outdoor pole mounted lamp of 80W and rated IP65 | No | 1 |  | 0
Total Cost - Water Supply |  |  |  |  | 0
|  |  |  | Total Phase 1 | #REF!
|  |  |  | Total Phase 2 | #REF!
|  |  |  | Total Phase 3 | #REF!